## Excavate
Form No : F/OSH - 03
Rev. 0
HAZARD IDENTIFICATION, RISK ASSESSMENT & DETERMINING CONTROL
Name of Job : |  | Department : | Prepared By : | Checked By :- |  | Approved By :
EXCAVATION WORK |  | CONSTRUCTION
HAZARD IDENTIFICATION |  |  |  | RISK ASSESSMENT |  |  | Recommended Action/Additional Control
Job Activity | Hazard | Hazard Character | Current Risk Control | Probability | Severity | Risk
Mobilization/ Unloading of excavator | Physical injuries caused by weight, sharp edges, hit by moving object. | Fatality or permanent disability or irreversible illness | Workers wear proper PPE; Signal man to monitor; Close supervision. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Insects bites or allergy to plants. | Near miss/ unsafe act/ unsafe condition | To ensure that worker wear heavy duty gloves during work. | 3 | 1 | 3 | Additional control shall be proposed when necessary.
| Trip or fall during mount or dismount of machinery. | Minor injury/illness (M.C between 5 to 14 days) | Worker wear proper PPE; Closed supervision. | 2 | 3 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Sudden injuries caused by excessive or cumulative lifting and/or work-rest cycle. | Near miss/ unsafe act/ unsafe condition | To ensure that worker do not work more than 2 hours at each time. | 3 | 1 | 3 | Additional control shall be proposed when necessary.
| Struck by overturning machinery due to unstable ground/traffic collision or machinery mishandling. | Fatality or permanent disability or irreversible illness | Instruction and site condition being briefed; Use solid platform; Signal man provided for traffic; Monitoring and provide signage. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
Excavator and case prepare base for site office container, diesel tank and store | Heat stroke caused by prolong exposure to sunlight and lack of water. | Near miss/ unsafe act/ unsafe condition | Workers wear hat and take a short break where applicable. | 3 | 1 | 3 | Additional control shall be proposed when necessary.
| Physical injuries caused by startup/mobilization such as belts, chain or weight of bucket wheel or hydraulic breaker during changeover between different types of accessories. | Minor injury/illness (M.C between 5 to 14 days) | To ensure that only competent person/operator performed mobilization for respective machinery. | 2 | 3 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Fire caused by heats engine or cigarette during refuel. | Localised damage (Repair cost > RM10,000 and < RM50,000) | To ensure that operator or worker not smoking during refueling and engine cool down of 15 minutes before refuel. | 2 | 3 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
Page 4/29
HAZARD IDENTIFICATION, RISK ASSESSMENT & DETERMINING CONTROL
Name of Job : |  | Department : | Prepared By : | Checked By :- |  | Approved By :
EXCAVATION WORK (Cont'd) |  | CONSTRUCTION
HAZARD IDENTIFICATION |  |  |  | RISK ASSESSMENT |  |  | Recommended Action/Additional Control
Job Activity | Hazard | Hazard Character | Current Risk Control | Probability | Severity | Risk
Excavate drainage/trenches/channel/site | Struck by collapse slope/falling object/material. | Fatality or permanent disability or irreversible illness | Close supervision; Working in buddy system; Barrier at excavate site area. | 4 | 5 | 20 | Briefing By SHO on safety awareness. Provide extra slope protection.
| Electrocution due to punching underground or overhead electric cable. | Minor damage (No or less disruption, repair cost > RM1,000 and < RM10,000) | Worker or operator being briefed of site condition and hidden danger; Wear proper PPE; Closed supervision. | 3 | 2 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Monotony of work and work rest cycle for excavator operator; cumulative trauma of bending over in drainage trenches/channels during side shoring for workers. | Near miss/ unsafe act/ unsafe condition | To ensure that operator or worker not work continuously more than 4 hours and encourage short breaks where applicable. | 2 | 1 | 2 | Additional control shall be proposed when necessary.
| Punching by moving bucket due to improper manual handling. | Fatality or permanent disability or irreversible illness | Provide safe working practice; Warning signage; Close supervision. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Trip/fall/drop into trenches/drain/site during work or inspection. | Minor injury/illness (M.C between 5 to 14 days) | Set up barrier or warning markers; Close supervision. | 2 | 3 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.

## Demolish
Form No : F/OSH - 03
Rev. 0
HAZARD IDENTIFICATION, RISK ASSESSMENT & DETERMINING CONTROL
Name of Job : |  | Department : | Prepared By : | Checked By :- |  | Approved By :
DEMOLITION WORK |  | CONSTRUCTION
HAZARD IDENTIFICATION |  |  |  | RISK ASSESSMENT |  |  | Recommended Action/Additional Control
Job Activity | Hazard | Hazard Character | Current Risk Control | Probability | Severity | Risk
Setting up working platform (Scaffold) | Scaffold rod collapsed and hit a person at site. | Major injury/illness (Long absenteeism, M.C > 14 days). | Use safety net; Proper planning of work. | 2 | 4 | 8 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Heat stress/stroke due to hot working environment. | Near miss/ unsafe act/ unsafe condition.f | Workers to take a short break where applicable. | 3 | 1 | 3 | Additional control shall be proposed when necessary.
| Electrocution due to faulty wiring touching metal.dd | Fatality or permanent disability or irreversible illness | Do not allow electrical wiring through scaffold structures. | 255552222725/57525552522215822225570 | 5 | #VALUE! | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
Setting up working platform (Ladder) | Slippery, ladder fall. | Fatality or permanent disability or irreversible illness | Buddy system properly secured. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Ladder broke. | Fatality or permanent disability or irreversible illness | Check the ladder properly before use. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Heat stress/stroke due to hot working environment. | Near miss/ unsafe act/ unsafe condition. | Workers to take a short break where applicable. | 3 | 1 | 3 | Additional control shall be proposed when necessary.
| Overstretching.dx)sr | Near miss/ unsafe act/ unsafe condition. | Workers to take a short break. | 3 | 1 | 3 | Additional control shall be proposed when necessary.
| Space constrain.tdddefgdgdfdtrddftfxdf | Near miss/ unsafe act/ unsafe condition. | Training and proper planning of work. | 4 | 1 | 4 | Additional control shall be proposed when necessary.
Setting up working platform (Temporary Staging) | Temporary staging broke due to overloading of debris which is not removed.ssssssxdfegggfgffffddffffddffddffdddddfdffddfdfdffddfffdfdddddddrfffddfdddffdddfdfdfdffdffffffffffffffffffffffffffffffdfffffffdfffffffffffffffffddddddeeeesseez)ysaacddssfssssssdssssdssssssdsssssfdssssssssssssssssffswsssssssssssfdssssffsfssssssfdsssddsdssfsdsssfdssfsfsdfsdwseeeeeeeeeeeeewweeeeeeeeeeeeeeeeeeeeeeeeeeeeeeeeeeeeeweeeeeeeweweweweeewweeeeeeeewewweweeeweeeeeweweeeweeweeeeeeeeewweeeeeeeeeeeeeeeeeeeeeeeweeeeeseeeeeeeeeeeeeeeeeeeeeeweeeeeeeweeeeeeeeeeeeeeeeeeeeeeweeeeeeeeweeeeeeeeeeeeeeeeeeeeeeeeeeeeeeeeeeeeeeeeeeeeeeeeseessesseeessseeeeeessssessssssssssssssssssssssssssssssssssesfafessessssssssssd | Minor damage (No or less disruption, repair cost > RM1,000 and < RM10,000). | Training and proper planning of work. | 2 | 2 | 4 | Additional control shall be proposed when necessary.
Working environment | Falling from height | Fatality or permanent disability or irreversible illness | Workers wear safety harness; Provide safe working procedure. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Electrocuted due to faulty electrical equipment/dismantling wiring. | Fatality or permanent disability or irreversible illness | Wear proper PPE; Provide safe working/proper handling procedure. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Use of solvents or any other chemical. | First aid cases/medical treatment (M.C between 1 to 3 days) | Proper protective clothing; Training. | 3 | 2 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Lighting. | First aid cases/medical treatment (M.C between 1 to 3 days) | To provide adequate lighting. | 2 | 2 | 4 | Additional control shall be proposed when necessary.
| Falling and drowned. | Fatality or permanent disability or irreversible illness | Fall protection provided; To wear life jacket. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
Page 1/29
HAZARD IDENTIFICATION, RISK ASSESSMENT & DETERMINING CONTROL
Name of Job : |  | Department : | Prepared By : | Checked By :- |  | Approved By :
DEMOLITION WORK (Cont'd) |  | CONSTRUCTION
HAZARD IDENTIFICATION |  |  |  | RISK ASSESSMENT |  |  | Recommended Action/Additional Control
Job Activity | Hazard | Hazard Character | Current Risk Control | Probability | Severity | Risk
Working environment | Heat stress/stroke due to hot working environment. | Near miss/ unsafe act/ unsafe condition. | Use proper ventilation system; Workers to take a short break. | 3 | 1 | 3 | Additional control shall be proposed when necessary.
| Body injuries due to struck by object / material debris. | Fatality or permanent disability or irreversible illness | Wear proper PPE. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Physical stress/repetitive work. | Near miss/ unsafe act/ unsafe condition. | Workers to take a short break where applicable. | 3 | 1 | 3 | Additional control shall be proposed when necessary.
4.2083 | Physical stress due to vibration. | Near miss/ unsafe act/ unsafe condition. | Workers to take a short break where applicable. | 3 | 1 | 3 | Additional control shall be proposed when necessary.
| Punching. | First aid cases/medical treatment (M.C between 1 to 3 days) | Training on proper handling; Wear proper PPE. | 2 | 2 | 4 | Additional control shall be proposed when necessary.
| Repetitive work. | Near miss/ unsafe act/ unsafe condition. | Working in interval time limit. | 3 | 1 | 3 | Additional control shall be proposed when necessary.
| Rotating, Shearing. | Minor injury/illness (M.C between 5 to 14 days) | Machine guarding; Training on proper handling. | 2 | 3 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Body injuries/cut caused by sharp object. | Major injury/illness (Long absenteeism, M.C > 14 days); | Worker wear proper PPE. | 2 | 4 | 8 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Heat due to oxy cutting activities. | Near miss/ unsafe act/ unsafe condition. | Wear proper and safe attire. | 3 | 1 | 3 | Additional control shall be proposed when necessary.
| Electrocuted due to faulty tools wiring. | Fatality or permanent disability or irreversible illness | To check tool equipment free from defect; Wear proper PPE. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Body injuries due to heat/radiation. | Near miss/ unsafe act/ unsafe condition. | Worker wear proper PPE. | 2 | 1 | 2 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Inhalation of fume or chemical vapor. | Near miss/ unsafe act/ unsafe condition. | Worker wear proper PPE. | 2 | 1 | 2 | Additional control shall be proposed when necessary.
Working with machinery | Hit by moving object. | Fatality or permanent disability or irreversible illness | Provide signalman and barricade working area. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Damage to equipment/machinery due to mishandling. | Minor damage (No or less disruption, repair cost > RM1,000 and < RM10,000). | Trained operator and close supervision; Provide safe working procedure. | 2 | 2 | 4 | Additional control shall be proposed when necessary.
d
fet
55253653

## Hand Tools
Form No : F/OSH - 03
Rev. 0
HAZARD IDENTIFICATION, RISK ASSESSMENT & DETERMINING CONTROL
Name of Job : |  | Department : | Prepared By : | Checked By :- |  | Approved By :
HANDTOOL WORK |  | CONSTRUCTION
HAZARD IDENTIFICATION |  |  |  | RISK ASSESSMENT |  |  | Recommended Action/Additional Control
Job Activity | Hazard | Hazard Character | Current Risk Control | Probability | Severity | Risk
Working environment | Space constraint. | First aid cases/medical treatment (M.C between 1 to 3 days), | Training and proper planning of work; Safe working procedure. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Physical injuries caused by swinging object and property damage. | First aid cases/medical treatment (M.C between 1 to 3 days), Minor damage (No or less disruption, repair cost > RM1,000 and < RM10,000). | Provide safe working procedure; Provide warning signage; Work in safe condition and space; Closed supervision. | 2 | 2 | 4 | Additional control shall be proposed when necessary
Working with handtool | Physical injuries caused by weight/sharp object. | First aid cases/medical treatment (M.C between 1 to 3 days), | Workers wear gloves; Provide safe working procedure. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Electrocution due to faulty wiring. | Fatality or permanent disability or irreversible illness | Worker wear proper PPE, make sure all equipment free from defect. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Injuries or damage due to excessive vibration (Jackhammer/hopper). | First aid cases/medical treatment (M.C between 1 to 3 days), | Provide training how to use handtool; Provide safe working procedure; Closed supervision. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Eyes injury caused by flying object/debris of handtools. | First aid cases/medical treatment (M.C between 1 to 3 days), | Provide safe working procedure; Workers wearing face shield / goggle; Provide only competent worker. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Physical stress/repetitive work. | Near miss/ unsafe act/ unsafe condition | Worker to take a short break where applicable. | 3 | 1 | 3 | Additional control shall be proposed when necessary
| Injuries or damage due to mishandling or use of tools. | First aid cases/medical treatment (M.C between 1 to 3 days), | Conduct training; Provide safe working procedure; Closed supervision. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Electrical handtool breakdown | Near miss/ unsafe act/ unsafe condition | Regular maintenance and servicing; Provide safe working procedure. | 3 | 1 | 3 | Additional control shall be proposed when necessary
Page 27/29
HAZARD IDENTIFICATION, RISK ASSESSMENT & DETERMINING CONTROL
Name of Job : |  | Department : | Prepared By : | Checked By :- |  | Approved By :
HANDTOOL WORK (Cont'd) |  | CONSTRUCTION
HAZARD IDENTIFICATION |  |  |  | RISK ASSESSMENT |  |  | Recommended Action/Additional Control
Job Activity | Hazard | Hazard Character | Current Risk Control | Probability | Severity | Risk
Storage of handtool | Physical injuries caused by weight/sharp objects. | First aid cases/medical treatment (M.C between 1 to 3 days), | Workers wear gloves; Provide safe working procedure. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Possible injuries from fall and or hit by falling handtool. | First aid cases/medical treatment (M.C between 1 to 3 days), | Worker wear Proper PPE (i.e. Safety shoes). | 2 | 2 | 4 | Additional control shall be proposed when necessary
Working/office environment | Sudden injuries caused by excessive lifting and mishandling of files, table, boxes and files cabinet. | First aid cases/medical treatment (M.C between 1 to 3 days), | Provide safe handling/lifting procedure; Close supervision. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| When dealing with people with unsound/unstable mind and being attack, verbally or physically abuse. | First aid cases/medical treatment (M.C between 1 to 3 days), | Inculculate team spirit in the office; Create a friendly office environment; Provide two way communication; Closed supervision. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Physical injuries and property damage caused by fire at company's floor or other floors. | First aid cases/medical treatment (M.C between 1 to 3 days), Minor damage (No or less disruption, repair cost > RM1,000 and < RM10,000). | Provide overload tripping device at main breaker and main switch; Provide fire extinguisher; Conduct ERP and fire drill training; Closed supervision. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Fall sick/fever/flu due to unstable room temperature. | First aid cases/medical treatment (M.C between 1 to 3 days), | Provide sweater; Air conditioning temperature to be set comfortably. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Vomiting and diarrhea due to food or water poisoning in the office. | First aid cases/medical treatment (M.C between 1 to 3 days), | Provide boiling water to all employees or visitor; To ensure cleanliness of pantry. | 2 | 2 | 4 | Additional control shall be proposed when necessary
HAZARD IDENTIFICATION, RISK ASSESSMENT & DETERMINING CONTROL
Name of Job : |  | Department : | Prepared By : | Checked By :- |  | Approved By :
HANDTOOL WORK (Cont'd) |  | CONSTRUCTION
HAZARD IDENTIFICATION |  |  |  | RISK ASSESSMENT |  |  | Recommended Action/Additional Control
Job Activity | Hazard | Hazard Character | Current Risk Control | Probability | Severity | Risk
Working/office environment (Cont'd) | Body injuries due to sitting for a very long period. | Near miss/ unsafe act/ unsafe condition | To ensure worker take a short break where applicable. | 3 | 1 | 3 | Additional control shall be proposed when necessary
| Allergic reactions or infections due to air contamination caused by rotten waste, fungi, bacteria and cigarette smoke. | Near miss/ unsafe act/ unsafe condition | Instruct building management to clean the air filter regularly; Impose NO SMOKING in the office. | 2 | 1 | 2 | Additional control shall be proposed when necessary
| Eyes injuries due to working in front of/looking at the computer for a very long period. | Near miss/ unsafe act/ unsafe condition | To ensure worker take a short break where applicable. | 2 | 1 | 2 | Additional control shall be proposed when necessary
| Electrocution due to short circuit or power leakage. | Fatality or permanent disability or irreversible illness | Provide overload tripping device at main breaker and main switch; Use SIRIM proven electrical appliances; Use only highly insulated electrical appliances. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
JALLCON (M) SDN BHD (Co. No. 101293-A)

## Road work
Form No : F/OSH - 03
Rev. 0
HAZARD IDENTIFICATION, RISK ASSESSMENT & DETERMINING CONTROL
Name of Job : |  | Department : | Prepared By : | Checked By :- |  | Approved By :
ROAD WORK |  | CONSTRUCTION
HAZARD IDENTIFICATION |  |  |  | RISK ASSESSMENT |  |  | Recommended Action/Additional Control
Job Activity | Hazard | Hazard Character | Current Risk Control | Probability | Severity | Risk
Unloading material | Physical injuries caused by weight, sharp edges, hit by falling object. | Fatality or permanent disability or irreversible illness | Workers wear gloves and hard hat; Provide safe working procedure; Close supervision. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Snakes & insects bites & allergies from plant might be occurred during the activities | First aid cases/medical treatment (M.C between 1 to 3 days) | All workers at the site are required to wear long safety boots. | 2 | 2 | 4 | Additional control shall be proposed when necessary.
| During verification of peg points, trip / fall might happen. | First aid cases/medical treatment (M.C between 1 to 3 days) | All workers at the site are required to wear long safety boots. | 2 | 2 | 4 | Additional control shall be proposed when necessary.
| Punching. | Major injury/illness (Long absenteeism, M.C > 14 days) | Stay away from the working area. | 2 | 4 | 8 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Physical injuries caused by swinging object and property damage. | Minor damage (No or less disruption, repair cost > RM1,000 and < RM10,000) | Provide safe working procedure on proper lifting and material handling; Provide warning signage. | 2 | 2 | 4 | Additional control shall be proposed when necessary.
| Crane collapse due to unstable ground. | Fatality or permanent disability or irreversible illness | To check outrigger and ground condition; Close supervision. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Damage to road surface due to crane sitting. | Minor damage (No or less disruption, repair cost > RM1,000 and < RM10,000) | Proper use of outrigger pad; Use of supporting platform. | 3 | 2 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Electrocution due to over head or underground live cable. | Minor injury/illness (M.C between 5 to 14 days) | Wear proper gloves; Provide warning signage; Close supervision. | 2 | 3 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Boom failure due to overloading or mishandling. | Fatality or permanent disability or irreversible illness | To check on load chart and proper lifting method. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Material falling onto public vehicle/road. | Localised damage (Repair cost > RM10,000 and < RM50,000) | Provide warning signage; Put barrier on working area; Close supervision. | 2 | 3 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Hit by falling object due to improper stacking. | Fatality or permanent disability or irreversible illness | Requirements on proper stacking techniques; Close supervision. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
Page 6/29
HAZARD IDENTIFICATION, RISK ASSESSMENT & DETERMINING CONTROL
Name of Job : |  | Department : | Prepared By : | Checked By :- |  | Approved By :
ROAD WORK (Cont'd) |  | CONSTRUCTION
HAZARD IDENTIFICATION |  |  |  | RISK ASSESSMENT |  |  | Recommended Action/Additional Control
Job Activity | Hazard | Hazard Character | Current Risk Control | Probability | Severity | Risk
Working environment and with material | Body injuries while handling machinery/hopper. | Major injury/illness (Long absenteeism, M.C > 14 days). | Provide safe working procedure; Training on machinery handling; Close supervision. | 2 | 4 | 8 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Health hazard due to tar and bitumen exposure. | Near miss/ unsafe act/ unsafe condition | Wear proper PPE; Close supervision. | 3 | 1 | 3 | Additional control shall be proposed when necessary.
| Heat stroke and dehydration due to prolonged exposure to sunlight or heating material. | Near miss/ unsafe act/ unsafe condition | Worker wear proper PPE; Worker to take a short break where applicable. | 3 | 1 | 3 | Additional control shall be proposed when necessary.
| Heat injury to body due to inappropriate insulation hand tools or inappropriate hands tools. | First aid cases/medical treatment (M.C between 1 to 3 days) | To use proper insulated hand tool; Wear proper PEP. | 2 | 2 | 4 | Additional control shall be proposed when necessary.
| Burnt injury due to mishandling flammable liquid or other combustible materials. | Fatality or permanent disability or irreversible illness | Wear proper PPE; Provide warning signage/MSDS; Close supervision. | 1 | 5 | 5 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Struck or hit by moving object (Hand tool or machinery). | Fatality or permanent disability or irreversible illness | To check outrigger and ground condition; Close supervision. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Physical injuries caused by traffic collision with public vehicle. | Minor injury/illness (M.C between 5 to 14 days) | Road site barrier/warning signage; Signal man proper monitoring; Close supervision. | 2 | 3 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Fall hazard due to cable snap or mishandling during lifting works. | Minor injury/illness (M.C between 5 to 14 days) | To check wire rope and proper handling during lifting work. | 2 | 3 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Fall into loading tray. | Minor injury/illness (M.C between 5 to 14 days) | Training for workers; Close supervision. | 2 | 3 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Fall into paver grader with rotating equipment. | Near miss/ unsafe act/ unsafe condition | Training for workers; Close supervision. | 1 | 5 | 5 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
HAZARD IDENTIFICATION, RISK ASSESSMENT & DETERMINING CONTROL
Name of Job : |  | Department : | Prepared By : | Checked By :- |  | Approved By :
ROAD WORK (Cont'd) |  | CONSTRUCTION
HAZARD IDENTIFICATION |  |  |  | RISK ASSESSMENT |  |  | Recommended Action/Additional Control
Job Activity | Hazard | Hazard Character | Current Risk Control | Probability | Severity | Risk
Working environment and with material. | Material falling onto public vehicle/live lane/roads. | Minor damage (No or less disruption, repair cost > RM1,000 and < RM10,000) | Close supervision; Proper cover and close the road while unloading material. | 2 | 2 | 4 | Additional control shall be proposed when necessary.
| Communication interrupted by noisy condition. | Near miss/ unsafe act/ unsafe condition | Training to workers use proper hand signal where applicable. | 3 | 1 | 3 | Additional control shall be proposed when necessary.
| Traffic collision with public vehicle. | Minor damage (No or less disruption, repair cost > RM1,000 and < RM10,000) | To wear high visibility vest and clothing; Close supervision. | 2 | 2 | 4 | Additional control shall be proposed when necessary.
| Material lifting interrupted by windy condition. | Near miss/ unsafe act/ unsafe condition | Training to workers proper lifting techniques and to provide slingman. | 2 | 1 | 2 | Additional control shall be proposed when necessary.
| Sudden injuries on hand due to vibration using jackhammer. | First aid cases/medical treatment (M.C between 1 to 3 days) | Provide safe working procedure; Training on hand tool handling. | 3 | 2 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
JALLCON (M) SDN BHD (Co. No. 101293-A)

## Scaffold
Form No : F/OSH - 03
Rev. 0
HAZARD IDENTIFICATION, RISK ASSESSMENT & DETERMINING CONTROL
Name of Job : |  | Department : | Prepared By : | Checked By :- |  | Approved By :
SCAFFOLDING WORK |  | CONSTRUCTION
HAZARD IDENTIFICATION |  |  |  | RISK ASSESSMENT |  |  | Recommended Action/Additional Control
Job Activity | Hazard | Hazard Character | Current Risk Control | Probability | Severity | Risk
Mobilization/ Unloading | Physical injuries caused by weight, sharp edges, hit by moving object. | Fatality or permanent disability or irreversible illness | Workers wearing proper PPE; Provide warning signage; Safe handling/working procedure. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Heat stress/stroke due to hot working environment. | Near miss/ unsafe act/ unsafe condition | Workers wearing hard hat; To take a short break and drink water. | 3 | 1 | 3 | Additional control shall be proposed when necessary.
| Physical injuries due to slip/trip fall during carry scaffold for storage. | First aid cases/medical treatment (M.C between 1 to 3 days) | Workers wearing proper PPE; Provide safe material handling/working procedure; Close supervision. | 2 | 2 | 4 | Additional control shall be proposed when necessary.
| Space constraint. | Near miss/ unsafe act/ unsafe condition | Training and proper planning of work; Safe work procedure. | 3 | 1 | 3 | Additional control shall be proposed when necessary.
| Physical injuries caused by fall of material during lifting process. | First aid cases/medical treatment (M.C between 1 to 3 days) | Workers wearing proper PPE; Close supervision; Provide safe material handling/working procedure. | 2 | 2 | 4 | Additional control shall be proposed when necessary.
| Sudden injuries caused by excessive lifting. | First aid cases/medical treatment (M.C between 1 to 3 days) | Workers wearing proper PPE; Provide warning signage; Safe handling/working procedure. | 2 | 2 | 4 | Additional control shall be proposed when necessary.
| Hand injuries when stacking the scaffold from lorry. | First aid cases/medical treatment (M.C between 1 to 3 days) | Workers wearing proper PPE; Provide safe working procedure. | 2 | 2 | 4 | Additional control shall be proposed when necessary.
Page 10/29
HAZARD IDENTIFICATION, RISK ASSESSMENT & DETERMINING CONTROL
Name of Job : |  | Department : | Prepared By : | Checked By :- |  | Approved By :
SCAFFOLDING WORK (Cont'd) |  | CONSTRUCTION
HAZARD IDENTIFICATION |  |  |  | RISK ASSESSMENT |  |  | Recommended Action/Additional Control
Job Activity | Hazard | Hazard Character | Current Risk Control | Probability | Severity | Risk
Installation of scaffold | Hit by moving object. | Fatality or permanent disability or irreversible illness | Wear proper PPE, Provide safe working procedure. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Platform collapse due to unstable ground. | Extensive damage > RM250,000 | Provide safe working procedure, safe handling/working procedure, supervisor to check platform ground | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Hit by falling object. | Fatality or permanent disability or irreversible illness | Wearing hard hat, close supervision by competent scaffold supervisor. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Slip & trip while set up of installation at platform. | First aid cases/medical treatment (M.C between 1 to 3 days), | Wear proper PPE, platform to be clear & dry, close supervision. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Fall from height. | Fatality or permanent disability or irreversible illness | Provide safe working procedure, wear safety harness & provide lifelines | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
Erection of scaffold | Slip and trip during erection. | First aid cases/medical treatment (M.C between 1 to 3 days), | Using safe working platform; Passageway clear from obstruction; Workers wear proper PPE. | 3 | 2 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Material falling. | Minor injury/illness (M.C between 5 to 14 days) | Close supervision by competent scaffold supervisor; Provide warning signage at working area; Workers wear proper PPE. | 2 | 3 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Falling from height. | Fatality or permanent disability or irreversible illness | Close supervision; Using safe working platform; Worker wearing safety harness. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
JALLCON (M) SDN BHD (Co. No. 101293-A)

## Drainage,Sewerage & Pipe Works
Form No : F/OSH - 03
Rev. 0
HAZARD IDENTIFICATION, RISK ASSESSMENT & DETERMINING CONTROL
Name of Job : |  | Department : | Prepared By : | Checked By :- |  | Approved By :
DRAINAGE, SEWERAGE & PIPING WORK |  | CONSTRUCTION
HAZARD IDENTIFICATION |  |  |  | RISK ASSESSMENT |  |  | Recommended Action/Additional Control
Job Activity | Hazard | Hazard Character | Current Risk Control | Probability | Severity | Risk
Check and verify peg points as per survey drawings with reference to construct drawings | When checking peg points, possible injuries from snakes/insects bites and allergies from plants. | First aid cases/medical treatment (M.C between 1 to 3 days) | Worker to work in buddy system and compulsory use of safety shoes or proper PPE. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Trip/fall during verification of peg point. | First aid cases/medical treatment (M.C between 1 to 3 days) | Worker to work in buddy system and use of belay lines for transversing slopes if applicable; Workers to rotate carrying equipment and position. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Cumulative trauma from carrying peg variation equipment such as dumpy level, theodolite and stands inclusive of measurement staff. | First aid cases/medical treatment (M.C between 1 to 3 days) | Workers to rotate carrying equipment and position. | 1 | 2 | 2 | Additional control shall be proposed when necessary
Mobilize excavator or case | Trip/fall during mount/dismount of machinery, noise and vibration of machinery gives physical discomforts. | First aid cases/medical treatment (M.C between 1 to 3 days) | To ensure that operator to perform pre start check and clean up of slippery surfaces before mount/dismount. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Fire caused by heated engine or cigarette during refueling. | Minor damage (No or less disruption, repair cost > RM1,000 and < RM10,000) | Enforce no smoking area and cool down engine before refueling. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Drop of machinery parts and hit the body of worker, noise and vibration of machinery might cause injury. | First aid cases/medical treatment (M.C between 1 to 3 days) | Workers to wear proper PPE; Provide safe working procedure; Close supervision. | 2 | 2 | 4 | Additional control shall be proposed when necessary
Page 12/29
HAZARD IDENTIFICATION, RISK ASSESSMENT & DETERMINING CONTROL
Name of Job : |  | Department : | Prepared By : | Checked By :- |  | Approved By :
DRAINAGE, SEWERAGE & PIPING WORK (Cont'd) |  | CONSTRUCTION
HAZARD IDENTIFICATION |  |  |  | RISK ASSESSMENT |  |  | Recommended Action/Additional Control
Job Activity | Hazard | Hazard Character | Current Risk Control | Probability | Severity | Risk
Unloading pipes from trailers | The crane's chain slipped or broken during the lifting operation and piles fall off and hit the body of worker causing body parts dislocated/fracture. | Major injury/illness (Long absenteeism, M.C > 14 days) | Workers to wear proper PPE; Provide signalman; Crane to have a valid PMA certificate; Provide safe work procedure. | 1 | 4 | 4 | Additional control shall be proposed when necessary
| Hand injuries might be occurred when the workers help to unload the pipes. | First aid cases/medical treatment (M.C between 1 to 3 days) | Workers to wear proper PPE; Provide safe work procedure. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Sudden body injuries due to excessive load weight. | First aid cases/medical treatment (M.C between 1 to 3 days) | Provide training/safety awareness; Close supervision. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Physical injuries caused by weight, sharp edges. | Minor injury/illness (M.C between 5 to 14 days) | Workers wear proper PPE. | 2 | 3 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Hit by moving object. | Fatality or permanent disability or irreversible illness | Provide warning signage; Close supervision. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
Stacking of pipes | Improper stacking of pipes might cause others to fall off and cause body injuries. | First aid cases/medical treatment (M.C between 1 to 3 days) | Workers wear proper PPE. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Hand injuries due to stacking the pipes on form ground with timber blocks and wedges. | First aid cases/medical treatment (M.C between 1 to 3 days) | Workers wear proper PPE. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Snakes and insects bites and allergies from plant might be occurred during the activities. | Near miss/ unsafe act/ unsafe condition | Workers wear proper PPE. | 2 | 1 | 2 | Additional control shall be proposed when necessary
Form No : F/OSH - 03
Rev. 0
HAZARD IDENTIFICATION, RISK ASSESSMENT & DETERMINING CONTROL
Name of Job : |  | Department : | Prepared By : | Checked By :- |  | Approved By :
DRAINAGE, SEWERAGE & PIPING WORK (Cont'd) |  | CONSTRUCTION
HAZARD IDENTIFICATION |  |  |  | RISK ASSESSMENT |  |  | Recommended Action/Additional Control
Job Activity | Hazard | Hazard Character | Current Risk Control | Probability | Severity | Risk
Excavate drainage/ channels and preparing foundation | Trip/fall during mount/dismount of machinery, noise and vibration of machinery gives physical discomforts. | First aid cases/medical treatment (M.C between 1 to 3 days), | To ensure that operator to perform pre start check and clean up of slippery surfaces before mount/dismount. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Monotony of work and work cycle for excavator operator; cumulative trauma of bending over in drainage trenches/channel during side shoring. | First aid cases/medical treatment (M.C between 1 to 3 days), | To ensure worker take a short break where applicable. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Buried alive by collapse ground or material. | Fatality or permanent disability or irreversible illness | Adequate slope protection; Safe excavation technique; Close supervision. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Trip/fall/drop into trenches during work or inspection. | First aid cases/medical treatment (M.C between 1 to 3 days), | Trenches have barricade or warning signage; Close supervision. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Struck by collapse machinery. | Fatality or permanent disability or irreversible illness | Provide solid platform/use steel plate; Close supervision. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Heat stroke from prolonged exposure to sunlight and dehydration. | Near miss/ unsafe act/ unsafe condition | Workers wear hard hat; Workers encourage to take a short where applicable. | 3 | 1 | 3 | Additional control shall be proposed when necessary
Placing of culverts/lay bedding concrete/pipes or related materials | Snakes and insects bites and allergies from plant might be occurred during the activities. | Near miss/ unsafe act/ unsafe condition | Workers wear proper PPE | 2 | 1 | 2 | Additional control shall be proposed when necessary
| Powered equipment and machinery such as hopper or manual compactor may cause possible injuries. | First aid cases/medical treatment (M.C between 1 to 3 days), | Workers wear proper PPE | 2 | 2 | 4 | Additional control shall be proposed when necessary
Form No : F/OSH - 03
Rev. 0
HAZARD IDENTIFICATION, RISK ASSESSMENT & DETERMINING CONTROL
Name of Job : |  | Department : | Prepared By : | Checked By :- |  | Approved By :
DRAINAGE, SEWERAGE & PIPING WORK (Cont'd) |  | CONSTRUCTION
HAZARD IDENTIFICATION |  |  |  | RISK ASSESSMENT |  |  | Recommended Action/Additional Control
Job Activity | Hazard | Hazard Character | Current Risk Control | Probability | Severity | Risk
Install applicable components according to specifications | Physical injuries caused by weight, sharp edges when transferring material and equipment. | Minor injury/illness (M.C between 5 to 14 days) | Workers wear proper PPE; Workers to work in buddy system. | 2 | 3 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Snakes and insects bites and allergies from plant might be occurred during the activities. | Near miss/ unsafe act/ unsafe condition | Workers wear proper PPE. | 2 | 1 | 2 | Additional control shall be proposed when necessary
| Possible injuries from fall and or equipment/ components falling onto workers when work at night. | Minor injury/illness (M.C between 5 to 14 days) | Workers wear proper PPE; Provide proper lighting. | 2 | 3 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Heat stroke from prolonged exposure to sunlight and dehydration. | Near miss/ unsafe act/ unsafe condition | Workers wear hard hat; Workers encourage to take a short where applicable. | 3 | 1 | 3 | Additional control shall be proposed when necessary
| Physical injuries caused by heavy items slipping from hands/lifting equipment and falling on to worker. | First aid cases/medical treatment (M.C between 1 to 3 days), | Workers wear proper PPE; Signalman to be provided to stop other from working under the crane. | 2 | 2 | 4 | Additional control shall be proposed when necessary
Conduct applicable acceptance test or benchmark acceptance procedure | Heat stroke from prolonged exposure to sunlight and dehydration. | Near miss/ unsafe act/ unsafe condition | Workers wear hard hat; Workers encourage to take a short where applicable. | 3 | 1 | 3 | Additional control shall be proposed when necessary
| Physical injuries caused by weight, sharp edges when transferring test equipment. | First aid cases/medical treatment (M.C between 1 to 3 days), | Workers wear proper PPE; Workers to work in buddy system. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Possible injuries from fall and or hit by falling equipment. | Minor injury/illness (M.C between 5 to 14 days) | Ensure trenches have boundaries and warning markers. | 2 | 3 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
HAZARD IDENTIFICATION, RISK ASSESSMENT & DETERMINING CONTROL
Name of Job : |  | Department : | Prepared By : | Checked By :- |  | Approved By :
DRAINAGE, SEWERAGE & PIPING WORK (Cont'd) |  | CONSTRUCTION
HAZARD IDENTIFICATION |  |  |  | RISK ASSESSMENT |  |  | Recommended Action/Additional Control
Job Activity | Hazard | Hazard Character | Current Risk Control | Probability | Severity | Risk
Backfill for applicable closed drainage system to desired level | Excessive vibration of compactor/hopper and heat radiation from closed proximity of equipment. | Near miss/ unsafe act/ unsafe condition | To ensure workers not working more than 4 hours continuously and encourage to take a short break. | 3 | 1 | 3 | Additional control shall be proposed when necessary
| Monotony of work and work rest cycle for excavator operator; cumulative. | Near miss/ unsafe act/ unsafe condition | To ensure workers not working more than 4 hours continuously and encourage to take a short break. | 3 | 1 | 3 | Additional control shall be proposed when necessary
| Heat stroke from prolonged exposure to sunlight and dehydration. | Near miss/ unsafe act/ unsafe condition | Workers wear hard hat; Workers encourage to take a short where applicable. | 3 | 1 | 3 | Additional control shall be proposed when necessary
| Trip/fall/drop into trenches during work or inspection. | First aid cases/medical treatment (M.C between 1 to 3 days), | Trenches have barricade or warning signage; Close supervision. | 2 | 2 | 4 | Additional control shall be proposed when necessary
Post-work safety | Fire caused by heated engine or cigarette during refueling. | Minor damage (No or less disruption, repair cost > RM1,000 and < RM10,000) | Enforce no smoking area and cool down engine before refueling. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Fall from height due to unprotected opening. | Fatality or permanent disability or irreversible illness | Provide warning system; Provide barrier. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Inhalation/exposure to toxic gases. | Fatality or permanent disability or irreversible illness | Working in buddy system; Close supervision; Check for toxic gases. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Confine space and insufficient oxygen. | Fatality or permanent disability or irreversible illness | Provide proper ventilation; Working in buddy system; Exhaust fan system. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
JALLCON (M) SDN BHD (Co. No. 101293-A)

## Roof
HAZARD IDENTIFICATION, RISK ASSESSMENT & DETERMINING CONTROL
Name of Job : |  | Department : | Prepared By : | Checked By :- |  | Approved By :
ROOF WORK |  | CONSTRUCTION
HAZARD IDENTIFICATION |  |  |  | RISK ASSESSMENT |  |  | Recommended Action/Additional Control
Job Activity | Hazard | Hazard Character | Current Risk Control | Probability | Severity | Risk
Mobilization/ Unloading of roof. | Physical injuries caused by weight/sharp edges. | Major injury/illness (Long absenteeism, M.C > 14 days) | Workers wear gloves and hard hat; Provide safe working procedure. | 2 | 4 | 8 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Physical injuries due to hit by falling material/object. | Fatality or permanent disability or irreversible illness | Workers wear proper PPE; Close supervision. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Manual handling. | First aid cases/medical treatment (M.C between 1 to 3 days) | Training and regular toolbox talk; Close supervision. | 2 | 2 | 4 | Additional control shall be proposed when necessary.
| Hit by moving/falling object during transfer of material. | Fatality or permanent disability or irreversible illness | Provide signal man; Close supervision. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Damage of material due to mishandling and fall from height during lifting work. | Minor damage (No or less disruption, repair cost > RM1,000 and < RM10,000) | Provide safe working/material handling procedure; Close supervision. | 2 | 2 | 4 | Additional control shall be proposed when necessary.
Material storage at roof top. | Heat stress/stroke due to hot working environment | Near miss/ unsafe act/ unsafe condition | Use proper ventilation system; Take a short break and drink water. | 3 | 1 | 3 | Additional control shall be proposed when necessary.
| Falling/flying object material due to windy condition. | Fatality or permanent disability or irreversible illness | Material to be securely stack and away from edges. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
Walkways and working platform. | Slip and fall from height. | Fatality or permanent disability or irreversible illness | Provide safe working procedure; Wear safety harness and provides lifeline. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Space constraint. | Near miss/ unsafe act/ unsafe condition | Training and prper planning of work. | 3 | 1 | 3 | Additional control shall be proposed when necessary.
Installation of roof material | Slip & fall from height | Fatality or permanent disability or irreversible illness | Provide safe working procedure; Wear safety harness & provide lifelines. | 3 | 5 | 15 | Permit to work, qualification/competency, briefing by SHO on safety awareness
| Material damage due to falling/hit by falling object | Minor damage (No or less disruption, repair cost > RM1,000 and < RM10,000) | Provide safe material handling & toe board at edge of roof; Cordon working area; Warning signage. | 2 | 2 | 4 | Additional control shall be proposed when necessary
JALLCON (M) SDN BHD (Co. No. 101293-A)

## Lifting
Form No : F/OSH - 03
Rev. 0
HAZARD IDENTIFICATION, RISK ASSESSMENT & DETERMINING CONTROL
Name of Job : |  | Department : | Prepared By : | Checked By :- |  | Approved By :
LIFTING WORK |  | CONSTRUCTION
HAZARD IDENTIFICATION |  |  |  | RISK ASSESSMENT |  |  | Recommended Action/Additional Control
Job Activity | Hazard | Hazard Character | Current Risk Control | Probability | Severity | Risk
Transporting of lifting machinery | Traffic collision. | Minor damage (No or less disruption, repair cost > RM1,000 and < RM10,000) | Provide experience driver with legal driving licence; Provide trafficman. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Machinery breakdown. | Minor damage (No or less disruption, repair cost > RM1,000 and < RM10,000) | Regular maintenance and servicing. | 3 | 2 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Equipment/machinery falling onto public vehicle/road. | Minor damage (No or less disruption, repair cost > RM1,000 and < RM10,000) | To securely tighten up equipment/machinery before transporting; Provide warning signage. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Body injuries while handling or secure equipment/ machinery for transporting. | First aid cases/medical treatment (M.C between 1 to 3 days), | Provide safe working procedure; Training on machinery handling; Close supervision. | 2 | 2 | 4 | Additional control shall be proposed when necessary
Mobilization/ unloading machinery/ material | Physical injuries caused by fall/hit by moving object during lifting process. | Fatality or permanent disability or irreversible illness | Worker wear gloves and hard hat; Signalman monitored lifting process; Close supervision. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Crane cable slipped or break during the lifting process. | Fatality or permanent disability or irreversible illness | Provide a proper PMA certificate; Signalman monitored lifting process; Close supervision. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Damage to road surface due to crane sitting. | Minor damage (No or less disruption, repair cost > RM1,000 and < RM10,000) | Proper use of outrigger pad; Use of support platform. | 3 | 2 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Struck by moving object due to unstable ground or mishandling. | Fatality or permanent disability or irreversible illness | Provide safe working procedure; Signalman monitored lifting process; Provide barrier and signage, Closed supervision. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
Page 25/29
HAZARD IDENTIFICATION, RISK ASSESSMENT & DETERMINING CONTROL
Name of Job : |  | Department : | Prepared By : | Checked By :- |  | Approved By :
LIFTING WORK (Cont'd) |  | CONSTRUCTION
HAZARD IDENTIFICATION |  |  |  | RISK ASSESSMENT |  |  | Recommended Action/Additional Control
Job Activity | Hazard | Hazard Character | Current Risk Control | Probability | Severity | Risk
Working environment | Heat stroke from prolonged exposure to sunlight and dehydration. | Near miss/ unsafe act/ unsafe condition | Workers wear hard hat; Workers encourage to take a short break where applicable. | 3 | 1 | 3 | Additional control shall be proposed when necessary
| Sudden body injuries due to excessive lifting. | Near miss/ unsafe act/ unsafe condition | Allowed to carry only where one's can; Required assistant when needed; Use crane or lifting machinery. | 3 | 1 | 3 | Additional control shall be proposed when necessary
| Physical injuries caused by trip and fall during lifting and carrying material. | Minor injury/illness (M.C between 5 to 14 days) | Safe working procedure; Closed supervision. | 2 | 3 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Space constraint. | Near miss/ unsafe act/ unsafe condition | Training and proper planning of work; Safe working procedure. | 3 | 1 | 3 | Additional control shall be proposed when necessary
Working with lifting/hoisting machinery. | Crane boom failure/collapse due to overloading. | Fatality or permanent disability or irreversible illness | Provide a proper PMA certificate; Signalman monitored lifting process; Close supervision; Provide barrier and signage. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Crane topple due to overweight/unstable ground. | Fatality or permanent disability or irreversible illness | Crane park at solid platform and outrigger support is fully used; Close supervision. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Manual handling. | First aid cases/medical treatment (M.C between 1 to 3 days), | Training and regular toolbox talk; Closed supervision. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Material damage due to falling/mishandling during storage. | Minor damage (No or less disruption, repair cost > RM1,000 and < RM10,000) | Provide safe handling procedure; Provide specific storage room. | 2 | 3 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
JALLCON (M) SDN BHD (Co. No. 101293-A)

## Manual Handling
Form No : F/OSH - 03
Rev. 0
MANUAL HANDLING HAZARD IDENTIFICATION, RISK ASSESSMENT & DETERMINING CONTROL
Nature of Job : |  | Department : | Prepared By : | Checked By :- |  | Approved By :
Construction Work |  | CONSTRUCTION | Oyedele Olamilekan (OSH) | Project Manager |  | Managing Director
HAZARD IDENTIFICATION |  |  |  | RISK ASSESSMENT |  |  | Recommended Action/Additional Control
Job Activity | Hazard | Hazard Character | Current Risk Control | Probability | Severity | Risk
Site set up, soft strip, and Demolition | Exerting force while in a bent, twisted or awkward posture | First aid cases/medical treatment | Operatives are trained in good manual handling techniques. Tool box talks given. | 2 | 2 | 4 | Briefing By OSH on safety awareness. Additional control shall be mmade when necessary. | h
| Unstable or unbalanced loads | First aid cases/medical treatment | Ensure that the flooring is stable and not slippery and the usage of mechanical aids | 2 | 2 | 4 | Briefing By OSH on safety awareness. Additional control shall be mmade when necessary.
| Repetitive or sustained force | First aid cases/medical treatment | This operation is repetitive, regular breaks will be taken. Rotation of operatives will be undertaken | 2 | 2 | 4 | Briefing By OSH on safety awareness. Additional control shall be mmade when necessary.
| Hand-arm vibration syndrome due to excessive usage of vibrating handtools/equipments | First aid cases/medical treatment/permanent disability or irreversible illness | This operation is repetitive, regular breaks will be taken. Rotation of operatives will be undertaken | 1 | 5 | 5 | Briefing By OSH on safety awareness. Additional control shall be mmade when necessary.
| Lifting, lowering or carrying heavy loads, awkward or bulky load | First aid cases/medical treatment | Loads to be reduced in size or handled by multiple operatives or usage of lifting equipment | 2 | 2 | 4 | Briefing By OSH on safety awareness. Additional control shall be mmade when necessary.
| Hand injuries due to hot load, loads with sharp edges or hazardous substatnces | First aid cases/medical treatment | Worker wear proper/adequate personal protective gear (PPE); Provide safe working procedure. | 2 | 2 | 4 | Briefing By OSH on safety awareness. Additional control shall be mmade when necessary.
| Manual handling due to improper lifting techniques. | First aid cases/medical treatment | Operatives are trained in good manual handling techniques. Tool box talks given. | 2 | 2 | 4 | Briefing By OSH on safety awareness. Additional control shall be mmade when necessary.
| Extremes of temperature, humidity | First aid cases/medical treatment | Worker wear proper/adequate personal protective gear (PPE); regular breaks will be taken. Rotation of operatives will be undertaken if/when necessary | 1 | 3 | 3 | Briefing By OSH on safety awareness. Additional control shall be mmade when necessary.
| Strenuous pushing or pulling | First aid cases/medical treatment | usage of the mechanical aids provided and Ensure that correct manual handling procedures are followed | 2 | 3 | 6 | Briefing By OSH on safety awareness. Additional control shall be mmade when necessary.
| Holding, supporting or restraining anything (including a person, animal or tool) | First aid cases/medical treatment | Operatives are trained in good manual handling techniques. Tool box talks given. | 2 | 4 | 8 | Briefing By OSH on safety awareness. Additional control shall be mmade when necessary.

## Mason (1)
Form No : F/OSH - 03
Rev. 0
HAZARD IDENTIFICATION, RISK ASSESSMENT & DETERMINING CONTROL
Name of Job : |  | Department : | Prepared By : | Checked By :- |  | Approved By :
MASONRY WORK |  | CONSTRUCTION
HAZARD IDENTIFICATION |  |  |  | RISK ASSESSMENT |  |  | Recommended Action/Additional Control
Job Activity | Hazard | Hazard Character | Current Risk Control | Probability | Severity | Risk
Transporting of material | Traffic collision. | Minor damage (No or less disruption, repair cost > RM1,000 and < RM10,000) | Competent and certified driver; Closed supervision. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Machinery breakdown. | Minor damage (No or less disruption, repair cost > RM1,000 and < RM10,000) | Regular maintenance and servicing. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Material overloading, falling and hit workers. | Minor injury/illness (M.C between 5 to 14 days) | Workers wear proper PPE; Closed supervision. | 2 | 3 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
Unloading of material | Physical injuries due to hit by moving objects. | Fatality or permanent disability or irreversible illness | Workers wear proper PPE; Provide safe working procedure. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Physical injuries due to hit by falling objects. | Fatality or permanent disability or irreversible illness | Workers wear proper PPE; Provide safe working procedure. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Crane collapse due to unstable ground/platform or mishandling. | Fatality or permanent disability or irreversible illness | Provide a proper PMA certificate; Fully use outrigger platform. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Trip and fall due to poor housekeeping. | Major injury/illness (Long absenteeism, M.C > 14 days). | Provide good/save access and maintain good house keeping. | 2 | 4 | 8 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Manual handling due to improper lifting techniques. | Minor injury/illness (M.C between 5 to 14 days) | Use proper hand tools; Workers wear proper PPE. | 2 | 3 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Physical injuries due to cut/pierce by sharp edge object. | Minor injury/illness (M.C between 5 to 14 days) | Workers wear proper PPE; Provide safe working procedure. | 2 | 3 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
Page 22/29
HAZARD IDENTIFICATION, RISK ASSESSMENT & DETERMINING CONTROL
Name of Job : |  | Department : | Prepared By : | Checked By :- |  | Approved By :
MASONRY WORK (Cont'd) |  | CONSTRUCTION
HAZARD IDENTIFICATION |  |  |  | RISK ASSESSMENT |  |  | Recommended Action/Additional Control
Job Activity | Hazard | Hazard Character | Current Risk Control | Probability | Severity | Risk
Storage of material | Hit by falling object due to improper stacking. | First aid cases/medical treatment (M.C between 1 to 3 days), | Requirements proper stacking techniques. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Fall hazard due to mishandling during stacking. | First aid cases/medical treatment (M.C between 1 to 3 days), | To check safe condition of platform; Wear a proper PPE; Close supervision. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Sudden body injuries due to excessive lifting is carried out. | First aid cases/medical treatment (M.C between 1 to 3 days), | Allowed to carry only where one's can; Required assistant when needed; Use crane or lifting machinery. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Manual handling. | Near miss/ unsafe act/ unsafe condition | Training and regular toolbox talk; Closed supervision. | 3 | 1 | 3 | Additional control shall be proposed when necessary
Working environment | Material fall onto public vehicle/live lane/road. | Minor damage (No or less disruption, repair cost > RM1,000 and < RM10,000) | To properly cover the material/stacked it away from the edge. | 3 | 2 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Heat stroke from prolonged exposure to sunlight and dehydration. | Near miss/ unsafe act/ unsafe condition | Workers wear hard hat; Workers encourage to take a short break where applicable. | 3 | 1 | 3 | Additional control shall be proposed when necessary
| Trip and fall due to poor house keeping. | First aid cases/medical treatment (M.C between 1 to 3 days), | Provide good/save access and maintain good house keeping. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Dusty work environment. | First aid cases/medical treatment (M.C between 1 to 3 days), | Workers to wear proper PPE (i.e Face mask); Conduct house keeping regularly. | 3 | 2 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Falling from height. | Fatality or permanent disability or irreversible illness | To provide barrier at open space edge; Workers to wear safety harness; Closed supervision. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Body injuries/cut caused by sharp object. | Minor injury/illness (M.C between 5 to 14 days) | Worker wear proper PPE. | 2 | 3 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
HAZARD IDENTIFICATION, RISK ASSESSMENT & DETERMINING CONTROL
Name of Job : |  | Department : | Prepared By : | Checked By :- |  | Approved By :
MASONRY WORK (Cont'd) |  | CONSTRUCTION
HAZARD IDENTIFICATION |  |  |  | RISK ASSESSMENT |  |  | Recommended Action/Additional Control
Job Activity | Hazard | Hazard Character | Current Risk Control | Probability | Severity | Risk
Working with material | Hit by falling object due to mishandling/slip/fall. | Fatality or permanent disability or irreversible illness | Provide safe working procedure; Closed supervision. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Dermatitis due to exposure to cement/mineral dust. | First aid cases/medical treatment (M.C between 1 to 3 days), | Worker wear gloves/face mask; Conduct house keeping regularly. | 3 | 2 | 6 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Damage to equipment/material due to mishandling. | Minor damage (No or less disruption, repair cost > RM1,000 and < RM10,000) | Train worker for properly handling; Provide safe working procedure. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Fall from height due to unstable/collapse platform. | Fatality or permanent disability or irreversible illness | Provide safe working platform; To provide barrier at open space edge; Workers to wear safety harness; Closed supervision. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Physical stress/repetitive work. | Near miss/ unsafe act/ unsafe condition | Worker to take a short break where applicable. | 3 | 1 | 3 | Additional control shall be proposed when necessary
| Environment pollution due to concrete and mineral dust. | Near miss/ unsafe act/ unsafe condition | Worker wear gloves/face mask; Conduct housekeeping regularly; Provide water spray system. | 3 | 1 | 3 | Additional control shall be proposed when necessary
JALLCON (M) SDN BHD (Co. No. 101293-A)

## Cw.Space (1)
Form No : F/OSH - 03
Rev. 0
HAZARD IDENTIFICATION, RISK ASSESSMENT & DETERMINING CONTROL
Name of Job : |  | Department : | Prepared By : | Checked By :- |  | Approved By :
CONFINED WORK SPACE |  | CONSTRUCTION
HAZARD IDENTIFICATION |  |  |  | RISK ASSESSMENT |  |  | Recommended Action/Additional Control
Job Activity | Hazard | Hazard Character | Current Risk Control | Probability | Severity | Risk
Entering confined space | Physical injuries due to slip and fall into manhole. | Major injury/illness (Long absenteeism, M.C > 14 days). | Workers wear proper PPE; Use safety harness if required; Closed supervision. | 2 | 4 | 8 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Toxication due to inhalation of toxic gases. | Fatality or permanent disability or irreversible illness | Competent gas tester check the air; Provide proper ventilation; Closed supervision. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Electrocuted due to faulty wiring or electric leakage. | Fatality or permanent disability or irreversible illness | Workers wear proper PPE; Closed supervision. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Body cut/pierce by sharp object. | Major injury/illness (Long absenteeism, M.C > 14 days). | Workers wear proper PPE; Closed supervision. | 2 | 4 | 8 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
Mobilize material or equipment into confined space | Hand injuries might be occurred when the workers to unload material/ equipment. | First aid cases/medical treatment (M.C between 1 to 3 days), | Workers to wear proper PPE; Provide safe work procedure. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Hit by moving object. | First aid cases/medical treatment (M.C between 1 to 3 days), | Provide warning signage; Closed supervision. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Sudden body injuries due to excessive load weight. | First aid cases/medical treatment (M.C between 1 to 3 days), | Provide training/safety awareness; Closed supervision. | 2 | 2 | 4 | Additional control shall be proposed when necessary
Working in confined space | Physical injuries or death caused by hazardous atmosphere : asphyxiate, toxic gases, explosion. | Fatality or permanent disability or irreversible illness | Workers to wear proper PPE; Provide proper ventilation system; Work in buddy system; Closed supervision. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Sudden injuries due to prolonged bending over . | First aid cases/medical treatment (M.C between 1 to 3 days), | Workers wear proper PPE; Workers to take break where applicable. | 2 | 2 | 4 | Additional control shall be proposed when necessary
Page 18/29
HAZARD IDENTIFICATION, RISK ASSESSMENT & DETERMINING CONTROL
Name of Job : |  | Department : | Prepared By : | Checked By :- |  | Approved By :
CONFINED WORK SPACE (Cont'd) |  | CONSTRUCTION
HAZARD IDENTIFICATION |  |  |  | RISK ASSESSMENT |  |  | Recommended Action/Additional Control
Job Activity | Hazard | Hazard Character | Current Risk Control | Probability | Severity | Risk
Working in confined space (Cont'd) | Heat stroke due to excessive heat and dehydration. | Near miss/ unsafe act/ unsafe condition | Workers to take a short break where applicable and drink more water; Provide proper ventilation system; Closed supervision. | 3 | 1 | 3 | Additional control shall be proposed when necessary
| Buried alive due to slope collapse/earth/solid material/fluid. | Fatality or permanent disability or irreversible illness | Workers to wear proper PPE; Provide lifeline communication system and work in buddy system; Closed supervision; Provide adequate slope protection. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Death due to inhalation of carbon monoxide. | Fatality or permanent disability or irreversible illness | Any machinery to be place outside; Provide proper ventilation system; Closed supervision. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
Inspection/ finished up and exit from confined space | Trip/fall/drop into manhole during inspection. | Fatality or permanent disability or irreversible illness | Provide warning signage; Closed supervision. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Buried by collapse ground or material. | Fatality or permanent disability or irreversible illness | Adequate slope protection; Safe excavation technique; Closed supervision. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Electrocuted by faulty wiring. | Fatality or permanent disability or irreversible illness | Workers wear proper PPE; Closed supervision. | 2 | 5 | 10 | Briefing By SHO on safety awareness. Additional control shall be made if necessary.
| Space constraint. | First aid cases/medical treatment (M.C between 1 to 3 days), | Training and proper planning of work; Provide safe working procedure. | 2 | 2 | 4 | Additional control shall be proposed when necessary
| Hit by moving object. | First aid cases/medical treatment (M.C between 1 to 3 days), | Workers wearing proper PPE; Provide safe working procedure. | 2 | 2 | 4 | Additional control shall be proposed when necessary
JALLCON (M) SDN BHD (Co. No. 101293-A)